## Sheet1
30-Minute Avgs | Station 1 |  |  | Station 2 |  |  | Station 3
| H2S | Met |  | H2S | Met |  | H2S | Met |  | AQS Null Data Codes
2023-01-15 | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | Qualifier | Item Description
Date / Time | ppb | mph | degrees | ppb | mph | degrees | ppb | mph | degrees | Code
2023-01-15 00:30 | BF | 3.8 | 283 | 0.2 | 1.3 | 289.1 | 0.2 | 0.9 | 220.3 | AB | TECHNICIAN UNAVAILABLE
2023-01-15 01:00 | BF | 4.5 | 294.1 | BF | 1.2 | 319.3 | 0.2 | 0.6 | 182.4 | AC | CONSTRUCTION/REPAIRS IN AREA
2023-01-15 01:30 | 1.2 | 3.9 | 304.9 | BF | 1 | 24.6 | BF | 0.3 | 79 | AD | SHELTER STORM DAMAGE
2023-01-15 02:00 | 1.8 | 5.9 | 4.1 | 1.3 | 1.7 | 47.2 | BF | 1.8 | 16.9 | AE | SHELTER TEMPERATURE OUTSIDE LIMITS
2023-01-15 02:30 | 2.2 | 5.7 | 356.3 | 0.2 | 1.5 | 30.6 | 0.6 | 2.7 | 354.9 | AI | INSUFFICIENT DATA (CAN'T CALCULATE)
2023-01-15 03:00 | 0.2 | 6.1 | 317.4 | 0.2 | 2 | 346.7 | 0.2 | 0.5 | 358.3 | AM | MISCELLANEOUS VOID
2023-01-15 03:30 | 1 | 5 | 338.9 | 0.2 | 1.4 | 357.4 | 0.2 | 1.5 | 357 | AN | MACHINE MALFUNCTION
2023-01-15 04:00 | 0.6 | 7 | 20.1 | 0.2 | 1.1 | 33.2 | 0.2 | 2.8 | 350.8 | AO | BAD WEATHER
2023-01-15 04:30 | 1.2 | 2.2 | 341.1 | 0.2 | 0.8 | 6.4 | 0.2 | 1.6 | 337 | AP | VANDALISM
2023-01-15 05:00 | 0.2 | 3.5 | 287.2 | 0.2 | 1.5 | 270 | 0.2 | 0.9 | 243 | AS | POOR QUALITY ASSURANCE RESULTS
2023-01-15 05:30 | 0.2 | 2 | 267.1 | 0.2 | 0.4 | 349.6 | 0.2 | 0.4 | 337.3 | AT | CALIBRATION
2023-01-15 06:00 | 0.2 | 3.5 | 281.2 | 0.2 | 0.6 | 274.5 | 0.2 | 0.8 | 229.4 | AU | MONITORING WAIVED
2023-01-15 06:30 | 0.2 | 3.3 | 241.9 | 0.2 | 0.6 | 41 | 0.2 | 0.4 | 294 | AV | POWER FAILURE (POWR)
2023-01-15 07:00 | 0.2 | 3.2 | 202.8 | 0.2 | 1.2 | 52.1 | 0.2 | 0.6 | 317.3 | AW | WILDLIFE DAMAGE
2023-01-15 07:30 | 0.2 | 4 | 225 | 0.2 | 0.7 | 335.6 | 0.2 | 0.4 | 294 | AX | PRECISION CHECK (PREC)
2023-01-15 08:00 | 0.2 | 3.2 | 206.9 | 0.4 | 0.3 | 290.3 | 0.2 | 0.3 | 290.7 | AY | Q C CONTROL POINTS (ZERO/SPAN)
2023-01-15 08:30 | 0.2 | 3 | 186.4 | 2.9 | 1.8 | 230.5 | 0.2 | 0.9 | 179.1 | AZ | Q C AUDIT (AUDT)
2023-01-15 09:00 | 0.2 | 1.9 | 176.4 | 2.6 | 1.4 | 210.5 | 0.2 | 1.2 | 172.8 | BA | MAINTENANCE/ROUTINE REPAIRS
2023-01-15 09:30 | 0.2 | 1.4 | 148 | 1.6 | 0.7 | 34.8 | 0.2 | 1.3 | 39.8 | BB | UNABLE TO REACH SITE
2023-01-15 10:00 | 0.2 | 2.2 | 252 | 0.2 | 1.2 | 11.7 | 0.2 | 2.3 | 5 | BC | MULTI-POINT CALIBRATION
2023-01-15 10:30 | 0.8 | 3.1 | 11 | 0.2 | 2.2 | 47 | 0.2 | 2.1 | 14.5 | BD | AUTO CALIBRATION
2023-01-15 11:00 | 0.2 | 4.6 | 11.5 | 0.2 | 2.3 | 21.3 | 0.2 | 2.1 | 1.2 | BE | BUILDING/SITE REPAIR
2023-01-15 11:30 | 0.8 | 4.1 | 14.5 | 0.2 | 3.2 | 3.4 | 0.2 | 3 | 358.4 | BF | PRECISION/ZERO/SPAN
2023-01-15 12:00 | 0.2 | 6.8 | 342.1 | 0.2 | 2.9 | 8.2 | 0.2 | 2.5 | 348.7 | BJ | OPERATOR ERROR
2023-01-15 12:30 | 0.2 | 5.8 | 333.5 | 0.2 | 3.4 | 4.6 | 0.2 | 3.3 | 354.1 | BK | SITE COMPUTER/DATA LOGGER DOWN
2023-01-15 13:00 | 0.4 | 5.1 | 344.5 | 0.2 | 4.1 | 10.9 | 0.2 | 3.7 | 0.1
2023-01-15 13:30 | 0.2 | 7.1 | 332.6 | 0.2 | 3.4 | 7.8 | 0.2 | 2.4 | 351.5
2023-01-15 14:00 | 0.2 | 6.8 | 307.5 | 0.2 | 3.8 | 310.1 | 0.2 | 2.1 | 336.1
2023-01-15 14:30 | 0.2 | 7.7 | 339.1 | 0.2 | 4.5 | 313.8 | 0.2 | 2.3 | 329.4
2023-01-15 15:00 | 0.2 | 8.1 | 326.8 | 0.2 | 4.1 | 314.4 | 0.2 | 1.8 | 328.8
2023-01-15 15:30 | 0.2 | 7.7 | 338.8 | 0.2 | 3.9 | 351.2 | 0.2 | 2.1 | 329.1
2023-01-15 16:00 | 0.2 | 4.1 | 332.9 | 0.2 | 3.5 | 341 | 0.2 | 2.3 | 329.3
2023-01-15 16:30 | 0.2 | 6.2 | 317.2 | 0.2 | 3.3 | 3.9 | 0.2 | 2.2 | 357.5
2023-01-15 17:00 | 0.2 | 3.7 | 351 | 0.2 | 1.7 | 29.6 | 0.2 | 1.3 | 345.8
2023-01-15 17:30 | 0.2 | 1.5 | 118.3 | 0.2 | 0.6 | 54.8 | 0.2 | 0.7 | 191.6
2023-01-15 18:00 | 0.2 | 2.9 | 204.4 | 0.2 | 0.4 | 216.2 | 0.2 | 0.2 | 241.6
2023-01-15 18:30 | 0.2 | 3 | 205.3 | 0.2 | 0.4 | 228.4 | 0.2 | 0.5 | 235.9
2023-01-15 19:00 | 0.2 | 2 | 194 | 0.2 | 0.3 | 131.1 | 0.5 | 0.3 | 229.1
2023-01-15 19:30 | 0.2 | 1.4 | 205 | 0.2 | 0.9 | 57.1 | 1.9 | 0.4 | 208.1
2023-01-15 20:00 | 0.2 | 1.3 | 191 | 0.2 | 0.3 | 44.5 | 2.3 | 0.3 | 286
2023-01-15 20:30 | 0.2 | 1.5 | 197.4 | 0.4 | 0.3 | 353.1 | 1.7 | 0.2 | 255
2023-01-15 21:00 | 0.2 | 1.2 | 164.1 | 0.2 | 0.5 | 39.9 | 1.8 | 0.4 | 31.7
2023-01-15 21:30 | 0.2 | 1.3 | 197.4 | 0.2 | 0.7 | 32.8 | 0.2 | 0.3 | 45.6
2023-01-15 22:00 | 0.2 | 1.6 | 182 | 0.2 | 0.4 | 35.4 | 0.6 | 0.2 | 272.2
2023-01-15 22:30 | 0.2 | 1.2 | 176.5 | 0.2 | 0.6 | 17.4 | 0.7 | 0.3 | 339.2
2023-01-15 23:00 | 0.2 | 1.4 | 180.9 | 0.2 | 0.7 | 24.1 | 0.9 | 0.3 | 332.9
2023-01-15 23:30 | 0.2 | 1.2 | 185.7 | 0.2 | 0.8 | 29 | 0.8 | 0.3 | 336.2
2023-01-16 | 0.2 | 1.3 | 183.2 | 0.2 | 0.7 | 5.2 | 0.7 | 0.3 | 13.9