## Sheet1
30-Minute Avgs | Station 1 |  |  | Station 2 |  |  | Station 3
| H2S | Met |  | H2S | Met |  | H2S | Met |  | AQS Null Data Codes
2023-01-24 | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | 30min Avg H2S Conc. | 30min Avg WS | 30min Avg WD | Qualifier | Item Description
Date / Time | ppb | mph | degrees | ppb | mph | degrees | ppb | mph | degrees | Code
2023-01-24 00:30 | AX | 2.1 | 185.1 | 0.2 | 1.7 | 55 | 0.2 | 0.7 | 34 | AB | TECHNICIAN UNAVAILABLE
2023-01-24 01:00 | 0.5 | 2.1 | 198.8 | AX | 1.1 | 315.2 | 0.2 | 0.8 | 101.5 | AC | CONSTRUCTION/REPAIRS IN AREA
2023-01-24 01:30 | 0.5 | 2.7 | 209.4 | 0.2 | 1.2 | 332.2 | AX | 0.7 | 261.2 | AD | SHELTER STORM DAMAGE
2023-01-24 02:00 | 0.2 | 2.5 | 195.9 | 0.5 | 1 | 26.7 | 0.2 | 0.5 | 224 | AE | SHELTER TEMPERATURE OUTSIDE LIMITS
2023-01-24 02:30 | 0.2 | 1.9 | 186.6 | 2.2 | 1 | 302.8 | 0.2 | 0.8 | 262.6 | AI | INSUFFICIENT DATA (CAN'T CALCULATE)
2023-01-24 03:00 | 0.2 | 1.6 | 187 | 4 | 0.6 | 17.7 | 1.1 | 0.5 | 257.2 | AM | MISCELLANEOUS VOID
2023-01-24 03:30 | 0.2 | 1.8 | 167.5 | 2.1 | 0.6 | 43.9 | 0.4 | 0.4 | 295.5 | AN | MACHINE MALFUNCTION
2023-01-24 04:00 | 0.2 | 2.1 | 173.5 | 3.2 | 0.6 | 42.3 | 0.2 | 0.5 | 355.9 | AO | BAD WEATHER
2023-01-24 04:30 | 0.2 | 1.6 | 179.8 | 1.7 | 0.9 | 32.7 | 0.2 | 0.4 | 15.3 | AP | VANDALISM
2023-01-24 05:00 | 0.2 | 1.3 | 165.2 | 2.6 | 0.7 | 38.6 | 0.5 | 0.7 | 53.2 | AS | POOR QUALITY ASSURANCE RESULTS
2023-01-24 05:30 | 0.2 | 1.6 | 175.6 | 1.5 | 0.7 | 40.1 | 0.4 | 0.3 | 346.5 | AT | CALIBRATION
2023-01-24 06:00 | 0.2 | 1.4 | 170.1 | 1.2 | 0.9 | 44.1 | 0.2 | 0.3 | 34.2 | AU | MONITORING WAIVED
2023-01-24 06:30 | 0.2 | 1.2 | 150 | 1.2 | 0.9 | 40.9 | 0.2 | 0.6 | 28.8 | AV | POWER FAILURE (POWR)
2023-01-24 07:00 | 0.2 | 1.3 | 194.7 | 1 | 0.8 | 18.4 | 0.2 | 0.4 | 24.1 | AW | WILDLIFE DAMAGE
2023-01-24 07:30 | 0.2 | 1.1 | 200.4 | 0.8 | 0.7 | 30.4 | 0.5 | 0.3 | 350.6 | AX | PRECISION CHECK (PREC)
2023-01-24 08:00 | 0.2 | 1.2 | 169 | 1.8 | 0.7 | 40.3 | 3.6 | 0.3 | 28.6 | AY | Q C CONTROL POINTS (ZERO/SPAN)
2023-01-24 08:30 | 0.2 | 1.2 | 183.6 | 2.5 | 0.4 | 338.5 | 4.1 | 0.2 | 66.1 | AZ | Q C AUDIT (AUDT)
2023-01-24 09:00 | 0.2 | 1.4 | 184.9 | 3.6 | 0.2 | 329.6 | 4.4 | 0.3 | 40 | BA | MAINTENANCE/ROUTINE REPAIRS
2023-01-24 09:30 | 0.2 | 1 | 191 | 2.4 | 0.3 | 256.7 | 4.3 | 0.5 | 69.9 | BB | UNABLE TO REACH SITE
2023-01-24 10:00 | 0.2 | 1.6 | 154.8 | 1.6 | 1.2 | 89.8 | 5 | 1.2 | 21 | BC | MULTI-POINT CALIBRATION
2023-01-24 10:30 | 0.2 | 0.9 | 109.3 | 3.2 | 1.3 | 127.7 | 2.2 | 1.5 | 23 | BD | AUTO CALIBRATION
2023-01-24 11:00 | 0.2 | 2.1 | 196.7 | 2.2 | 2.4 | 246.6 | 3.4 | 1.9 | 77.1 | BE | BUILDING/SITE REPAIR
2023-01-24 11:30 | 0.2 | 3.5 | 192.1 | 0.2 | 2.1 | 201.5 | 1.6 | 2.2 | 165.1 | BF | PRECISION/ZERO/SPAN
2023-01-24 12:00 | 0.2 | 2.9 | 190.9 | 0.2 | 2.6 | 232 | 0.4 | 1.7 | 133.4 | BJ | OPERATOR ERROR
2023-01-24 12:30 | 0.2 | 3.3 | 164 | 0.2 | 3.8 | 215.4 | 0.2 | 2.5 | 150.3 | BK | SITE COMPUTER/DATA LOGGER DOWN
2023-01-24 13:00 | 0.2 | 4.7 | 191 | 0.2 | 4.4 | 258.5 | 0.2 | 3.5 | 187.8
2023-01-24 13:30 | 0.2 | 4.3 | 195.8 | 0.2 | 4.4 | 249.5 | 0.2 | 2.5 | 190.6
2023-01-24 14:00 | 0.2 | 4.1 | 187.1 | 0.6 | 3.9 | 222.4 | 0.2 | 2.6 | 194.6
2023-01-24 14:30 | 0.2 | 6.6 | 166.4 | 0.2 | 3.7 | 198.9 | 0.4 | 3.4 | 177.7
2023-01-24 15:00 | 0.2 | 6.4 | 151.4 | 0.2 | 3.7 | 156.5 | 0.2 | 2.8 | 169.2
2023-01-24 15:30 | 0.2 | 6.4 | 159 | 0.2 | 3 | 168.4 | 0.2 | 2.8 | 170.4
2023-01-24 16:00 | 0.2 | 6.2 | 154 | 0.2 | 3.8 | 218 | 0.2 | 3 | 184.8
2023-01-24 16:30 | 0.2 | 5.7 | 175 | 0.2 | 4.9 | 231.3 | 0.2 | 3.3 | 191.1
2023-01-24 17:00 | 0.2 | 4.6 | 165.3 | 0.2 | 4.1 | 208.7 | 0.5 | 3.1 | 203.3
2023-01-24 17:30 | 0.2 | 4.1 | 159.6 | 0.2 | 2.3 | 188.7 | 0.2 | 1.9 | 164.1
2023-01-24 18:00 | 0.2 | 2.9 | 168.8 | 0.2 | 1 | 139.9 | 0.2 | 0.5 | 202.5
2023-01-24 18:30 | 0.2 | 1.6 | 193.9 | 0.2 | 0.9 | 48.2 | 0.2 | 0.3 | 5
2023-01-24 19:00 | 0.2 | 1.9 | 198.1 | 0.2 | 0.4 | 81.5 | 0.2 | 0.2 | 7.4
2023-01-24 19:30 | 0.2 | 1.4 | 189.5 | 0.2 | 0.3 | 57.9 | 0.2 | 0.3 | 38.5
2023-01-24 20:00 | 0.2 | 1.6 | 189 | 0.2 | 0.6 | 24.1 | 0.6 | 0.5 | 28.3
2023-01-24 20:30 | 0.6 | 1.3 | 173.6 | 0.2 | 0.6 | 34.2 | 0.2 | 0.5 | 312.3
2023-01-24 21:00 | 0.2 | 1.7 | 184.3 | 0.2 | 0.5 | 307.4 | 0.4 | 0.4 | 294.1
2023-01-24 21:30 | 0.2 | 1.4 | 197.8 | 0.2 | 0.5 | 13.8 | 0.2 | 0.4 | 313.6
2023-01-24 22:00 | 0.2 | 1 | 185.1 | 0.2 | 0.5 | 35.5 | 0.2 | 0.2 | 318
2023-01-24 22:30 | 0.2 | 1.1 | 164.7 | 0.2 | 0.6 | 21.7 | 0.2 | 0.4 | 300
2023-01-24 23:00 | 0.2 | 1.1 | 169.9 | 0.2 | 0.7 | 21.7 | 0.2 | 0.4 | 269.5
2023-01-24 23:30 | 0.2 | 1.2 | 204.8 | 0.2 | 0.5 | 15.8 | 0.2 | 0.2 | 301.2
2023-01-25 | 0.2 | 2.1 | 221.3 | 0.2 | 0.6 | 337.3 | 0.2 | 0.3 | 293